## mean_monthly_rainfall_mm
Mean monthly rainfall (mm)
Data are mean monthly values for the 1981-2010 period for locations having at least 5 complete years of data
Station details are available in separate table
LOCATION | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | YEAR
------------------------------ | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ----- | ------
Kaitaia | 82 | 92.5 | 82 | 97.7 | 131.9 | 149.1 | 165.4 | 140 | 126.7 | 97.8 | 86.2 | 99.6 | 1349.2
Whangarei | 81.2 | 95.2 | 118.1 | 98.9 | 111.2 | 131.5 | 168.6 | 128.4 | 112.2 | 85.3 | 77.1 | 96.4 | 1317.7
Auckland | 73.3 | 66.1 | 87.3 | 99.4 | 112.6 | 126.4 | 145.1 | 118.4 | 105.1 | 100.2 | 85.8 | 92.8 | 1210.7
Tauranga | 76 | 86.6 | 92.7 | 120.9 | 105.7 | 115.7 | 127.4 | 112.3 | 87.6 | 90.4 | 75.3 | 90.3 | 1176.5
Hamilton | 76.3 | 68.7 | 79.4 | 80.3 | 99.7 | 113.2 | 118.2 | 103.4 | 91.5 | 91.9 | 85 | 100.7 | 1108.4
Rotorua | 92.7 | 93.9 | 99.2 | 107.2 | 116.9 | 136.1 | 134.5 | 131.4 | 109.3 | 112.3 | 93.8 | 114.2 | 1358.9
Gisborne | 56.2 | 71.3 | 91.4 | 98.2 | 101.3 | 104.6 | 127.7 | 76.2 | 73.5 | 72.5 | 67.1 | 56.2 | 978.7
Taupo | 77.3 | 67.9 | 66.5 | 68.4 | 74.9 | 92.8 | 96 | 87.4 | 81.6 | 86.2 | 67.9 | 93.6 | 954.5
New Plymouth | 114.5 | 85.4 | 126.5 | 125.4 | 97.1 | 152.6 | 131.1 | 117.2 | 104.8 | 117.8 | 100.3 | 113.1 | 1398
Napier | 46.8 | 54.3 | 66.8 | 67.9 | 74.8 | 82.1 | 108.3 | 60.1 | 57.9 | 59.9 | 52.4 | 53.5 | 776
Wanganui | 59.2 | 75.5 | 62.9 | 69.2 | 79.5 | 88.8 | 85.3 | 74.4 | 73.7 | 88 | 75.4 | 86.4 | 916.7
Palmerston North | 55 | 67.8 | 51.8 | 65.9 | 71.5 | 95.1 | 82.5 | 76.9 | 86.1 | 96.4 | 80.9 | 87.5 | 919.9
Masterton | 44.4 | 68.9 | 84.5 | 54 | 93.6 | 105.3 | 90.9 | 86.7 | 73.7 | 77.2 | 77.5 | 70.9 | 922.9
Wellington | 75.7 | 69.8 | 87.1 | 83.6 | 112.9 | 132.8 | 137.5 | 113.7 | 97.8 | 114.9 | 97 | 84.4 | 1215.4
Nelson | 76.5 | 63.5 | 70.8 | 80.9 | 82 | 92.7 | 77.6 | 81.9 | 85.1 | 87.2 | 78.3 | 83.6 | 950.7
Blenheim | 48.9 | 49.4 | 46.5 | 52.7 | 60.6 | 70.7 | 74.3 | 62.2 | 65.2 | 67.4 | 55 | 58.1 | 720.1
Westport | 178.2 | 128.9 | 158.9 | 156.7 | 174.2 | 212.5 | 167.6 | 185 | 187.4 | 200.3 | 169 | 203 | 2154.4
Kaikoura | 46 | 46.8 | 62.6 | 51.8 | 56.9 | 75.9 | 100.6 | 56.5 | 50.1 | 62.7 | 55.5 | 44.6 | 695.9
Hokitika | 248.3 | 189 | 215.8 | 231.5 | 236.8 | 273.5 | 218 | 230.8 | 260.1 | 275.1 | 225.3 | 297 | 2901.4
Christchurch | 38.3 | 42.3 | 44.8 | 46.2 | 63.7 | 60.9 | 68.4 | 64.4 | 41.1 | 52.8 | 45.8 | 49.5 | 618.2
Mt Cook | 457.5 | 278.4 | 417.9 | 363 | 357.1 | 314.5 | 305.2 | 313.4 | 297.4 | 478.9 | 414.2 | 487.2 | 4491.2
Lake Tekapo | 43.6 | 35.9 | 48.8 | 45.2 | 56.5 | 60 | 49.6 | 58.4 | 50.4 | 49.5 | 41.3 | 52.2 | 591.6
Timaru | 46.5 | 51.7 | 47.6 | 38.7 | 46.6 | 38.8 | 46.2 | 43.8 | 36.5 | 49.5 | 49.6 | 52.8 | 546.8
Milford Sound | 722 | 454.7 | 595.1 | 533.2 | 596.6 | 487.1 | 423.7 | 463.5 | 551.4 | 640.3 | 548 | 700.1 | 6715.4
Queenstown | 64.7 | 50.3 | 53.4 | 56.2 | 68.5 | 71.5 | 50.3 | 66.2 | 62.4 | 66.4 | 63.6 | 75.3 | 741.4
Alexandra | 50.1 | 32.8 | 29 | 22 | 27.4 | 31.6 | 24.2 | 17.6 | 20.9 | 28.7 | 30.6 | 44.5 | 335.3
Manapouri | 85.4 | 84.3 | 86.5 | 90 | 100.9 | 101.8 | 82 | 93.9 | 100 | 107.7 | 91.1 | 105.1 | 1092.2
Dunedin | 72.9 | 67.8 | 64 | 50.9 | 64.7 | 57.9 | 57.1 | 55.7 | 48.3 | 61.7 | 56.4 | 80.2 | 726.2
Invercargill | 115 | 87.1 | 97.4 | 95.9 | 114.4 | 104 | 85.2 | 75.6 | 84.2 | 95 | 90.4 | 105 | 1146.6
Chatham Islands | 54.9 | 63.9 | 84.7 | 75.7 | 87.9 | 107.8 | 84.7 | 84.4 | 71.1 | 63.4 | 66.7 | 66.3 | 898.9

## Waste Water (2)
Address | 119 & 117a First View Ave, Beachlands, Auckland, 2018
Client | Pugsy Trust and JW Payne Trust
Date | 2016-09-29
Number of Bedrooms | 5
Number of people | 8 | (TP58)
TP58 Requirements
|  |  | 100 | Lper person/day |  | Table 6.2 from TP58 C. F. Households with Full Water Reduction Fixtures Without Permanent Electricity Supply
Total water generation |  |  | 800 | L per day
2/3 from greywater |  |  | 528 | L per day |  |  |  | ETS Bed can take 10L/m2 from Table 6.10*
1/3 from black water |  |  | 264 | L per day |  |  |  | 264 | L per day | Black water to dispose
[8 empty] | 264 | L per day | Extra greywater to dispose
Greywater Reuse | [7 empty] | 528 | L per day
Toilets |  |  | 264 | L per day |  |  |  | 8 | L/day/m2 | *
Washing Machine |  |  |  | L per day
Laundry Tub |  |  |  | L per day |  |  |  | 66 | m2 required
TOTAL |  |  | 264 | L per day |  |  |  | 52 | m2 provided
*Manual for On-Site Wastewater Design and Management : Technical Report to Support Policy Development : Horizons Regional Council
NicoBells Water Balance Calulations
Greywater Sources | [7 empty] | Greywater Uses
Showers | 7.5 | L/min | 300 | L per day | 5 minute shower once a day |  |  | Toilets |  | 144 | L per day
Hand Wash Basins | 6 | L/min | 48 | L per day | 1min, 5 times per day per person (LEED and TP58) |  |  | Washing Machine |  | 67 | L per day
Washing Machine | 67 | L/load | 67 | L per day | Fisher and Paykel WH8560F1. 1 load per day |  |  | Laundry Tub |  | 4 | L per day
Laundry Tub | 6 | L/min | 4 | L per day | 5min per day per person |  |  | TOTAL |  | 215 | L per day
Bath | 100 | L/bath | 100 | L per day | 1 bath per day
TOTAL |  |  | 519 | L per day | 64.875 | per person per day
Blackwater Sources | [7 empty] | ETS Bed can take 8L/m2 from Table 6.10*
Toilets | 4.5/3 | flush | 144 | L per day | 5 flushes per day per person (TP58) |  |  | 177.8 | L per day | Black water to dispose
Dishwashers | 9.8 | L per wash | 9.8 | L per day | Smeg DWAFI315T |  |  | 304 | L per day | Extra greywater to dispose
Kitchen sink | 6 | L/min | 24 | L per day | 1 min 4 times a day (LEED) |  |  | 481.8 | L per day
TOTAL |  |  | 177.8 | L per day | 22.225 | per person per day |  | 60.225 | m2 required
[8 empty] | 63.4 | m2 provided |  | compliant
|  |  |  | Total Black and Grey Water production | 87.1 | per person per day

## Stormwater
Address | 119 & 117a First View Ave, Beachlands, Auckland, 2018
Client | Pugsy Trust and JW Payne Trust
Date | 2016-07-29
STORMWATER CALCULATIONS: Showing required stormwater tank detention size.
|  |  | Roofs |  |  |  |  | Grass |  |  |  |  | Driveway/Paths
POST DEVELOPMENT | Total Area | 10% AEP 10 minute storm (HIRDS) (mm) | Area (m2) | Coeff | L | Q peak (l/s) | Q ave* (l/s) | Area (m2) | Coeff | L | Q peak (l/s) | Q ave* (l/s) | Area (m2) | Coeff | L | Q peak (l/s) | Q ave* (l/s)
Lot 1 | 661 | 16.8 | 183 | 0.95 | 2920.68 | 0.8113 | 0.52734 | 224 | 0.3 | 1128.96 | 0.3136 | 0.20384 | 254 | 0.95 | 4053.84 | 1.1261 | 0.73194
Lot 2 | 642 | 16.8 | 148 | 0.95 | 2362.08 | 0.65613 | 0.42649 | 300 | 0.3 | 1512 | 0.42 | 0.273 | 194 | 0.95 | 3096.24 | 0.86007 | 0.55904
Lot 3 | 723 | 16.8 | 170 | 0.95 | 2713.2 | 0.75367 | 0.48988 | 291 | 0.3 | 1466.64 | 0.4074 | 0.26481 | 262 | 0.95 | 4181.52 | 1.1615 | 0.755
| 2026 |  |  | .
|  |  | Roofs |  |  |  |  | Grass |  |  |  |  | Driveway/Paths
PRE DEVELOPMENT | Total Area | 10% AEP 10 minute storm (HIRDS) (mm) | Area (m2) | Coeff | L | Q peak (l/s) | Q ave* (l/s) | Area (m2) | Coeff | L | Q peak (l/s) | Q ave* (l/s) | Area (m2) | Coeff | L | Q peak (l/s) | Q ave* (l/s)
Lot 1 | 1012 | 16.8 | 245 | 0.95 | 3910.2 | 1.0862 | 0.70601 | 431 | 0.3 | 2172.24 | 0.6034 | 0.39221 | 336 | 0.95 | 5362.56 | 1.4896 | 0.96824
Lot 2 | 1012 | 16.8 | 212 | 0.95 | 3383.52 | 0.93987 | 0.61091 | 606 | 0.3 | 3054.24 | 0.8484 | 0.55146 | 194 | 0.95 | 3096.24 | 0.86007 | 0.55904
| 2024 | [5 empty] | Average Discharge equal to 65% of Peak flows
Lot 1 storage required | 6974.52 | L
Lot 2 storage required | 5458.32 | L
Lot 3 storage required | 6894.72 | L
TOTAL | 19327.56 | L | of stormwater detention
Pool Backwash
| 25000 | L tank provided

## Stormwater pervious concrete
Address | 119 & 117a First View Ave, Beachlands, Auckland, 2018
Client | Pugsy Trust and JW Payne Trust
Date | 2016-07-29
|  |  | Roofs |  |  |  |  | Grass |  |  |  |  | Driveway/Paths
POST DEVELOPMENT | Total Area | 10% AEP 10 minute storm (HIRDS) (mm) | Area (m2) | Coeff | L | Q peak (l/s) | Q ave* (l/s) | Area (m2) | Coeff | L | Q peak (l/s) | Q ave* (l/s) | Area (m2) | Coeff | L | Q peak (l/s) | Q ave* (l/s)
Lot 1 | 661 | 16.8 | 183 | 0.95 | 2920.68 | 0.8113 | 0.52734 | 224 | 0.3 | 1128.96 | 0.3136 | 0.20384 | 254 | 0.95 | 4053.84 | 1.1261 | 0.73194
Lot 2 | 642 | 16.8 | 148 | 0.95 | 2362.08 | 0.65613 | 0.42649 | 300 | 0.3 | 1512 | 0.42 | 0.273 | 194 | 0.95 | 3096.24 | 0.86007 | 0.55904
Lot 3 | 723 | 16.8 | 170 | 0.95 | 2713.2 | 0.75367 | 0.48988 | 291 | 0.3 | 1466.64 | 0.4074 | 0.26481 | 262 | 0.35 | 1540.56 | 0.42793 | 0.27816 | pervious concrete
| 2026 |  |  | .
|  |  | Roofs |  |  |  |  | Grass |  |  |  |  | Driveway/Paths
PRE DEVELOPMENT | Total Area | 10% AEP 10 minute storm (HIRDS) (mm) | Area (m2) | Coeff | L | Q peak (l/s) | Q ave* (l/s) | Area (m2) | Coeff | L | Q peak (l/s) | Q ave* (l/s) | Area (m2) | Coeff | L | Q peak (l/s) | Q ave* (l/s)
Lot 1 | 1012 | 16.8 | 245 | 0.95 | 3910.2 | 1.0862 | 0.70601 | 431 | 0.3 | 2172.24 | 0.6034 | 0.39221 | 336 | 0.95 | 5362.56 | 1.4896 | 0.96824
Lot 2 | 1012 | 16.8 | 212 | 0.95 | 3383.52 | 0.93987 | 0.61091 | 606 | 0.3 | 3054.24 | 0.8484 | 0.55146 | 194 | 0.95 | 3096.24 | 0.86007 | 0.55904
| 2024 | [5 empty] | Average Discharge equal to 65% of Peak flows
Lot 1 storage required | 6974.52 | L
Lot 2 storage required | 5458.32 | L
Lot 3 storage required | 4253.76 | L
TOTAL | 16686.6 | L | of stormwater detention
Pool Backwash
| 25000 | L tank provided

## ETS sizing
ETS bed of 35m2
|  | Qe | #REF! | L/day |  | E | 15 | mm/day reference from Rowe (Zero Discharge of Great Barrier Campground Greywaters Clive Rowe)
|  | P | 50 | mm/day |  | Cf | 0.85 | Crop Factor
|  | P | 1.75 | L/day |  | D |  | soil absorption
|  | Cr | 0.35 |  |  | S | 0.25 | cm/hr soil water absorption for heavy clay
Input
| ETS bed size | Qe | P | Cr
| 35 | 528 | 1.75 | 0.35
529.1375
|  |  | Qe | P | Cr | Total | Total | E | Cf | D | S
|  |  | L/month | mm/month |  | L/month |  | mm/month |  |  | L/month
| 31 | January | #REF! | 76 | 0.35 | #REF! | 78.9338 | 465 | 0.85 | 0 | 65.1
| 28 | February | #REF! | 75 | 0.35 | #REF! | 58.8 | 420 | 0.85 | 0 | 58.8
| 31 | March | #REF! | 88 | 0.35 | #REF! | 65.1 | 465 | 0.85 | 0 | 65.1
| 30 | April | #REF! | 102 | 0.35 | #REF! | 63 | 450 | 0.85 | 0 | 63
| 31 | May | #REF! | 114 | 0.35 | #REF! | 65.1 | 465 | 0.85 | 0 | 65.1
| 30 | June | #REF! | 132 | 0.35 | #REF! | 74.8575 | 450 | 0.85 | 0 | 63
| 31 | July | #REF! | 154 | 0.35 | #REF! | 76.167 | 465 | 0.85 | 0 | 65.1
| 31 | August | #REF! | 137 | 0.35 | #REF! | 77.3528 | 465 | 0.85 | 0 | 65.1
| 30 | September | #REF! | 107 | 0.35 | #REF! | 74.475 | 450 | 0.85 | 0 | 63
| 31 | October | #REF! | 98 | 0.35 | #REF! | 77.3528 | 465 | 0.85 | 0 | 65.1
| 30 | November | #REF! | 81 | 0.35 | #REF! | 74.475 | 450 | 0.85 | 0 | 63
| 31 | December | #REF! | 104 | 0.35 | #REF! | 104.008 | #REF! | 0.85 | 0 | 65.1
|  | TOTAL | #REF! | 1268 |  | #REF!
Soil type 5
Niwa: THE CLIMATE AND WEATHER OF AUCKLAND - 2nd edition page 35